## Notes
Notes:
The purpose of this workbook is to provide visibility of the calculations used in the scenario analysis and further to allow users to undertake their own analysis.
The capacity inputs in each scenario for forecast and actual are indicative only and are based on the assumptions outlined in the consultation paper.
The reconciliations and postalised tariff figures in this document are indicative
The indicative reconciliation payments by shipper in this workbook do not include debt, ratchet, termination payments, overrun charges or any other charges which are not specified.
The seasonal multipliers have been smoothed both at entry and exit in calculating scenarios 1b-3b.

## Summary Postalised Tariff
INDICATIVE POSTALISED TARIFF CALCULATION
Total Postalised System Allowed Costs
Inputs
Tariff outputs
Postalised year
Premier Transmission Ltd FRR | 28992644.8491
GNI(UK) | 21870433.2037
Belfast Gas Transmission Ltd FRR | 10753034.1385
West FRR | 10193120.487
Total Postalised Allowed Costs | 71809232.6783
Capacity proportion | 95%
Commodity proportion | 5%
Allocation of total Forecast Required Revenue revenue requirements by capacity / commodity
Postalised year
Capacity charges proportion of required revenue | 68218771.0444
Commodity charges proportion of required revenue | 3590461.6339
Check | OK
Forecast Exit Commodity Volumes (kWhr)
End Customer | Postalised year
Ballylumford Power Station | 3229290000
Coolkeeragh Power Station | 5275800000
"Additional" volume | 0
Phoenix Distribution Market | 5013466227.2505
firmus energy Distribution Market | 2161328240.0612
SGN Distribution Market | 865086868.4095
Total Commodity Forecast Volumes | 16544971335.7212
Profiling of Exit Forecast Commodity Volumes in (kWhr)
End Customer | Oct - Dec | Jan - Mar | Apr - June | July - Sept
Ballylumford Power Station | 475190000 | 525850000 | 1143160000 | 1085090000
Coolkeeragh Power Station | 1380028468.7158 | 1145225309.9939 | 1421109895.0006 | 1329436326.2897
"Additional" volume
Phoenix Distribution Market | 1586247962.8363 | 1886165609.705 | 948264932.9786 | 592787721.7305
firmus energy Distribution Market | 633394623.5133 | 756606860.7722 | 442615346.0728 | 328711409.7028
SGN Distribution Market | 202575411.7112 | 223218923.6838 | 235761990.9606 | 203530542.0538
Total forecast per Quarter | 4277436466.7767 | 4537066704.155 | 4190912165.0127 | 3539555999.7768
Moffat Entry point forecast ANNUAL booked capacity - kWh/day
End Customer | Postalised year
Ballylumford and Coolkeeragh Power Stations | 26370000
"Additional" power station (used in Base Case Enhanced) | 8934000
NI Distribution Market | 29667000
Total Moffat Entry Booked Capacity | 64971000
Gormanston Entry point forecast ANNUAL booked capacity - kWh/day
End Customer | Postalised year
Ballylumford, Coolkeeragh & "additional" Power Stations | 0
NI Distribution Market | 0
Total Gormanston Entry Booked Capacity | 0
Exit point forecast ANNUAL capacity - kWh/day
End Customer | Postalised year
Ballylumford Power Station, in Base Case and Base Case Enhanced | 22000000
Coolkeeragh Power Station, in Base Case and Base Case Enhanced | 18766000
"Additional" power station, in Base Case Enhanced | 8934000
Phoenix Distribution Market | 37250202
firmus energy Distribution Market | 12010000
SGN Distribution Market | 3987121
Total Exit Point Booked Capacity | 102947323
INDICATIVE POSTALISED TARIFF OUTPUTS
| Forecast | Year End
POSTALISED ANNUAL COM & CAP TARIFFS
Commodity Charge (£ per kWh) | 0.00021701 | 0.00021701
Auction reserve prices - Annual Entry capacity charge (£ per kWh) Moffat & G'ton | 0.43436 | 0.43436
Annual Exit capacity charge (£ per kWh) | 0.43436 | 0.43436
Auction reserve price - VRF Charge (£ per Kwh) | 0.0001 | 0.0001
INDICATIVE POSTALISATION PAYMENTS
Forecast Revenue |  | 68218771.0444
Actual revenue |  | 68218770.9539
Reconcilliation |  | 0.090428

## Scenarios
Legend:
Inputs
Please see the consultation paper for detail on each of the scenarios |  | Choose a scenario in the cell below to populate this column. Go to the Summary Postalised Tariff sheet for the result |  | Base Case | Base Case Enhanced | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 1b | Scenario 2b | Scenario 3b
|  | Base Case |  | Base Case -Current Tariff | Base Case -Enhanced. Current Capacity plus "additional" capacity on annual basis. Actuals equals forecast | Base Case -22-23 plus "additional" capacity. All 3 power stations use Short Term Exit Products. Annual at exit is reduced to reflect this. Actual is equal to forecast | Base Case -22-23 plus "additional" capacity. 3 PS Hedged to incl Short Term Exit Products. "Addtional" daily actual is zero; other daily exit actual equal to forecast. | Base Case -22-23 plus "additional" capacity. 3 PS Hedged to incl Short Term Exit Products. Daily capacity at exit actuals is zero for all 3 PS | As Scenario 1 but smoothed Seasonal Multipliers | As Scenario 2 but Smoothed Seasonal Multiplier | As Scenario 3 but Smoothed Seasonal Multiplier | drop down list for scenario choice | type of seasonal multiplier
[12 empty] | Base Case | Current Factors
Type of Seasonal Multiplier |  | Current Factors |  | Current Factors | Current Factors | Current Factors | Current Factors | Current Factors | Smoothed | Smoothed | Smoothed | Base Case Enhanced | Smoothed
Scenario 1
CALCULATION OF FORECAST ENTRY CAPACITY BOOKINGS | [11 empty] | Scenario 2
Annual capacity | Peak day kWh | 56037000 |  | 56037000 | 64971000 | 56037000 | 56037000 | 56037000 | 56037000 | 56037000 | 56037000 | Scenario 3
Quarterly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Scenario 1b
Monthly capacity | Peak day kWh | 400000 | Oct | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | Scenario 2b
|  | 355000 | Nov | 355000 | 355000 | 355000 | 355000 | 355000 | 355000 | 355000 | 355000 | Scenario 3b
|  | 1746000 | Dec | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000
|  | 3228000 | Jan | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000
|  | 2921000 | Feb | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000
|  | 850000 | Mar | 850000 | 850000 | 850000 | 850000 | 850000 | 850000 | 850000 | 850000
|  | 500000 | Apr | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 500000
|  | 100000 | May | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
|  | 0 | Jun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Jul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Aug | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Sep | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily capacity, summed over the month | Peak day kWh | 84813784 | Oct | 84813784 | 84813784 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101
|  | 113918809.1935 | Nov | 113918809.1935 | 113918809.1935 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338
|  | 54934557 | Dec | 54934557 | 54934557 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483
|  | 30702956 | Jan | 30702956 | 30702956 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459
|  | 24403034 | Feb | 24403034 | 24403034 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726
|  | 37499156.5714 | Mar | 37499156.5714 | 37499156.5714 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179
|  | 59897349 | Apr | 59897349 | 59897349 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317
|  | 150792692 | May | 150792692 | 150792692 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017
|  | 154658371 | Jun | 154658371 | 154658371 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371
|  | 101237273 | Jul | 101237273 | 101237273 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342
|  | 51630846 | Aug | 51630846 | 51630846 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978
|  | 88771643 | Sep | 88771643 | 88771643 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077
CALCULATION OF FORECAST EXIT CAPACITY
Annual capacity | Peak day kWh | 94013323 |  | 94013323 | 102947323 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906
Quarterly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily capacity, summed over the month | Peak day kWh | 0 | Oct | 0 | 0 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101
|  | 0 | Nov | 0 | 0 | 298775657.0208 | 298775657.0208 | 298775657.0208 | 298775657.0208 | 298775657.0208 | 298775657.0208
|  | 0 | Dec | 0 | 0 | 99077468.4965 | 99077468.4965 | 99077468.4965 | 99077468.4965 | 99077468.4965 | 99077468.4965
|  | 0 | Jan | 0 | 0 | 36486892.7535 | 36486892.7535 | 36486892.7535 | 36486892.7535 | 36486892.7535 | 36486892.7535
|  | 0 | Feb | 0 | 0 | 21473360.296 | 21473360.296 | 21473360.296 | 21473360.296 | 21473360.296 | 21473360.296
|  | 0 | Mar | 0 | 0 | 65055776.0504 | 65055776.0504 | 65055776.0504 | 65055776.0504 | 65055776.0504 | 65055776.0504
|  | 0 | Apr | 0 | 0 | 160799182.6265 | 160799182.6265 | 160799182.6265 | 160799182.6265 | 160799182.6265 | 160799182.6265
|  | 0 | May | 0 | 0 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017
|  | 0 | Jun | 0 | 0 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371
|  | 0 | Jul | 0 | 0 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342
|  | 0 | Aug | 0 | 0 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978
|  | 0 | Sep | 0 | 0 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077
CALCULATION OF YEAR-END ENTRY CAPACITY BOOKINGS
Annual capacity | Peak day kWh | 56037000 |  | 56037000 | 64971000 | 56037000 | 56037000 | 56037000 | 56037000 | 56037000 | 56037000
Quarterly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly capacity | Peak day kWh | 400000 | Oct | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 400000 | 400000
|  | 355000 | Nov | 355000 | 355000 | 355000 | 355000 | 355000 | 355000 | 355000 | 355000
|  | 1746000 | Dec | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000 | 1746000
|  | 3228000 | Jan | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000 | 3228000
|  | 2921000 | Feb | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000 | 2921000
|  | 850000 | Mar | 850000 | 850000 | 850000 | 850000 | 850000 | 850000 | 850000 | 850000
|  | 500000 | Apr | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 500000 | 500000
|  | 100000 | May | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
|  | 0 | Jun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Jul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Aug | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | Sep | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily capacity, summed over the month | Peak day kWh | 84813784 | Oct | 84813784 | 84813784 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101 | 231794450.101
|  | 113918809.1935 | Nov | 113918809.1935 | 113918809.1935 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338 | 303372202.338
|  | 54934557 | Dec | 54934557 | 54934557 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483 | 117759496.5483
|  | 30702956 | Jan | 30702956 | 30702956 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459 | 53839264.0459
|  | 24403034 | Feb | 24403034 | 24403034 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726 | 38019273.726
|  | 37499156.5714 | Mar | 37499156.5714 | 37499156.5714 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179 | 78750969.5179
|  | 59897349 | Apr | 59897349 | 59897349 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317 | 161859975.6317
|  | 150792692 | May | 150792692 | 150792692 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017 | 412113544.2017
|  | 154658371 | Jun | 154658371 | 154658371 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371 | 422678371
|  | 101237273 | Jul | 101237273 | 101237273 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342 | 276679531.5342
|  | 51630846 | Aug | 51630846 | 51630846 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978 | 141106114.978
|  | 88771643 | Sep | 88771643 | 88771643 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077 | 242611203.077
CALCULATION OF YEAR-END EXIT CAPACITY BOOKINGS
Annual capacity | Peak day kWh | 94013322.7906 |  | 94013322.7906 | 102947322.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906 | 88858043.7906
Quarterly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly capacity | Peak day kWh | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily capacity, summed over the month | Peak day kWh | 0 | Oct | 0 | 0 | 231794450.101 | 84813784 | 0 | 231794450.101 | 84813784 | 0
|  | 0 | Nov | 0 | 0 | 298775657.0208 | 109322263.8764 | 0 | 298775657.0208 | 109322263.8764 | 0
|  | 0 | Dec | 0 | 0 | 99077468.4965 | 36252528.9482 | 0 | 99077468.4965 | 36252528.9482 | 0
|  | 0 | Jan | 0 | 0 | 36486892.7535 | 13350584.7076 | 0 | 36486892.7535 | 13350584.7076 | 0
|  | 0 | Feb | 0 | 0 | 21473360.296 | 7857120.57 | 0 | 21473360.296 | 7857120.57 | 0
|  | 0 | Mar | 0 | 0 | 65055776.0504 | 23803963.1039 | 0 | 65055776.0504 | 23803963.1039 | 0
|  | 0 | Apr | 0 | 0 | 160799182.6265 | 58836555.9948 | 0 | 160799182.6265 | 58836555.9948 | 0
|  | 0 | May | 0 | 0 | 412113544.2017 | 150792692 | 0 | 412113544.2017 | 150792692 | 0
|  | 0 | Jun | 0 | 0 | 422678371 | 154658371 | 0 | 422678371 | 154658371 | 0
|  | 0 | Jul | 0 | 0 | 276679531.5342 | 101237273 | 0 | 276679531.5342 | 101237273 | 0
|  | 0 | Aug | 0 | 0 | 141106114.978 | 51630846 | 0 | 141106114.978 | 51630846 | 0
|  | 0 | Sep | 0 | 0 | 242611203.077 | 88771643 | 0 | 242611203.077 | 88771643 | 0

## Calc Com & Cap
This tab provides the calculations behind the commodity and capacity tariff calculations
1) | Commodity Calculation |  | Unit | Licence Condition | Period
| Calculation of forecast commodity charge |  |  |  | Postalised year
CALCULATION OF FORECAST COMMODITY CHARGE
|  | Total forecast exit commodity volumes | kWh | PS Forecast Annual Quantityt | 16544971335.7212
|  | Total commodity Forecast Required Revenue | £ | PSFRRt * Commodity Percentage | 3590461.6339
|  | Forecast commodity charge at exit | £/kWh | FPComCt | 0.00021701
|  | Rounded forecast commodity charge | £/kWh |  | 0.000217
2) | Capacity Calculation Forecast
| Forecast total entry capacity by product Moffat |  |  |  | Total | Gas Year | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | peak kWh/day |  | 56037000
|  | Quarterly capacity | peak kWh/day |  | 0 |  |  |  | 0 | 0
|  | Monthly capacity | peak kWh/day |  | 2640385.1 | [6 empty] | 400000 | 355000 | 1746000 | 3228000 | 2921000 | 850000 | 500000 | 100000 | 0 | 0 | 0 | 0
|  | Daily capacity | peak kWh/day |  | 4363644.5693 | [6 empty] | 84813784 | 113918809.1935 | 54934557 | 30702956 | 24403034 | 37499156.5714 | 59897349 | 150792692 | 154658371 | 101237273 | 51630846 | 88771643
|  | Within-day capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Actual interruptible capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | peak kWh/day |  | 0
[5 empty] | 63041029.6693 | 63041029.6693
| Forecast total entry capacity by product Gormanston |  |  |  | Total | Gas Year | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | peak kWh/day |  | 0 | 0
|  | Quarterly capacity | peak kWh/day |  | 0 |  | 0 | 0 | 0 | 0
|  | Monthly capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Daily capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Within-day capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | peak kWh/day |  | 0
0
| Forecast total entry capacity by product (Moffat+Gormanston) |  |  |  | Total | Gas Year | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | peak kWh/day |  | 56037000
|  | Quarterly capacity | peak kWh/day |  | 0 |  | 0 | 0 | 0 | 0
|  | Monthly capacity | peak kWh/day |  | 2640385.1 | [6 empty] | 400000 | 355000 | 1746000 | 3228000 | 2921000 | 850000 | 500000 | 100000 | 0 | 0 | 0 | 0
|  | Daily capacity | peak kWh/day |  | 4363644.5693 | [6 empty] | 84813784 | 113918809.1935 | 54934557 | 30702956 | 24403034 | 37499156.5714 | 59897349 | 150792692 | 154658371 | 101237273 | 51630846 | 88771643
|  | Within-day capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Actual interruptible capacity | peak kWh/day
|  | Virtual reverse flow | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63041029.6693
CALCULATION OF FORECAST WEIGHTED ENTRY CAPACITY BOOKINGS
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 56037000
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 2640385.1
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 4363644.5693
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
|  | Total weighted forecast entry capacity bookings | Peak day kWh | TWFCt | 63041029.6693
| Forecast total Exit Capacity by product |  |  |  | Total | Gas Year | Q4 | Q1 | Q2 | Q3 | 0 | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 94013323
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
94013323
| Calculation of weighted exit capacity volumes |  |  |  | Year 1
CALCULATION OF FORECAST WEIGHTED EXIT CAPACITY VOLUMES
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 94013323
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
|  | Total weighted forecast entry capacity bookings | Peak day kWh | TWFCt | 94013323
| Calculation of forecast reference capacity price |  |  |  | Year 1
2022/23
CALCULATION OF FORECAST CAPACITY REFERENCE PRICE
|  | Total Entry & Exit forecast capacity bookings | Peak day kWh | TWFCt | 157054352.6693
|  | Total capacity forecast required revenue | £ | PSFRRt * Capacity Percentage * PMA | 68218771.0444
|  | Forecast reference capacity charge | £/Peak day kWh | FPACapCt | 0.43436
| Calculation of forecast capacity charges by product |  |  |  | Postalised year |  | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
FORECAST RESERVE ENTRY CAPACITY CHARGES BY PRODUCT
|  | Annual capacity | £/Peak day kWh | FPACapCpt | 0.43436
|  | Quarterly capacity | £/Peak day kWh | FPNACapCpt |  |  | 0.16693 | 0.35049 | 0.05764 | 0.011337
|  | Monthly capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.055642 | 0.055642 | 0.074189 | 0.12983 | 0.14838 | 0.11128 | 0.055642 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133
|  | Daily capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718
|  | Within-day capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718
|  | Actual interruptible capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
FORECAST ROUNDED ENTRY CAPACITY CHARGES BY PRODUCT - MOFFAT
|  | Annual capacity | £/Peak day kWh | 2A.2.5.4(a) | 0.43436
|  | Quarterly capacity | £/Peak day kWh | 2A.2.5.4(a) |  |  | 0.16693 | 0.35049 | 0.05764 | 0.01134
|  | Monthly capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.055642 | 0.055642 | 0.074189 | 0.12983 | 0.14838 | 0.11128 | 0.055642 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133
|  | Daily capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Within-day capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Actual interruptible capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
FORECAST ROUNDED ENTRY CAPACITY CHARGES BY PRODUCT - GORMANSTON
|  | Annual capacity | £/Peak day kWh | 2A.2.5.4(a) | 0.43436
|  | Quarterly capacity | £/Peak day kWh | 2A.2.5.4(a) |  |  | 0.16693 | 0.35049 | 0.05764 | 0.01134
|  | Monthly capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.055642 | 0.055642 | 0.074189 | 0.12983 | 0.14838 | 0.11128 | 0.055642 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133
|  | Daily capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Within-day capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Actual interruptible capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
FORECAST EXIT CAPACITY PRICES BY PRODUCT
|  | Annual capacity | £/Peak day kWh | FPACapCpt | 0.43436 |  | 0.16693 | 0.35049 | 0.05764 | 0.011337
|  | Quarterly capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.055642 | 0.055642 | 0.074189 | 0.12983 | 0.14838 | 0.11128 | 0.055642 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133
|  | Monthly capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718
|  | Daily capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718 | 0.00021718
|  | Within-day capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Actual interruptible capacity | £/Peak day kWh | FPNACapCpt | [7 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
|  | Virtual reverse flow | £/Peak day kWh | FPNACapCpt
|  | FORECAST ROUNDED EXIT CAPACITY PRICES BY PRODUCT |  |  |  |  | 0.16693 | 0.35049 | 0.05764 | 0.01134
|  | Annual capacity | £/Peak day kWh | 2A.2.5.4(a) | 0.43436 | [6 empty] | 0.055642 | 0.055642 | 0.074189 | 0.12983 | 0.14838 | 0.11128 | 0.055642 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133 | 0.0042133
|  | Quarterly capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Monthly capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0027799 | 0.0027799 | 0.0049518 | 0.0086438 | 0.0099035 | 0.0074276 | 0.0027799 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172 | 0.0002172
|  | Daily capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Within-day capacity | £/Peak day kWh | 2A.2.5.4(a) | [7 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
|  | Actual interruptible capacity | £/Peak day kWh | 2A.2.5.4(a)
|  | Virtual reverse flow | £/Peak day kWh | 2A.2.5.4(a)
2) | Capacity Calculation Year End
| Actual total entry capacity by product Moffat |  |  |  | Postalised year | 0 | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | peak kWh/day |  | 56037000
|  | Quarterly capacity | peak kWh/day |  | 0
|  | Monthly capacity | peak kWh/day |  | 2640385.1 |  | 0 | 0 | 0 | 0 |  | 400000 | 355000 | 1746000 | 3228000 | 2921000 | 850000 | 500000 | 100000 | 0 | 0 | 0 | 0
|  | Daily capacity | peak kWh/day |  | 4363644.5693 | [6 empty] | 84813784 | 113918809.1935 | 54934557 | 30702956 | 24403034 | 37499156.5714 | 59897349 | 150792692 | 154658371 | 101237273 | 51630846 | 88771643
|  | Within-day capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Actual interruptible capacity | peak kWh/day |  | 0
|  | Virtual reverse flow | peak kWh/day |  | 0.0012 | [6 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
63041029.6705
| Actual total entry capacity by product Gormanston |  |  |  | Postalised year | 0 | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
0
| Year End total entry capacity by product (Moffat+Gormanston) |  |  |  | Postalised year | 0 | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | peak kWh/day |  | 56037000
|  | Quarterly capacity | peak kWh/day |  | 0 |  | 0 | 0 | 0 | 0
|  | Monthly capacity | peak kWh/day |  | 2640385.1 | [6 empty] | 400000 | 355000 | 1746000 | 3228000 | 2921000 | 850000 | 500000 | 100000 | 0 | 0 | 0 | 0
|  | Daily capacity | peak kWh/day |  | 4363644.5693 | [6 empty] | 84813784 | 113918809.1935 | 54934557 | 30702956 | 24403034 | 37499156.5714 | 59897349 | 150792692 | 154658371 | 101237273 | 51630846 | 88771643
|  | Within-day capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Actual interruptible capacity | peak kWh/day |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Virtual reverse flow | peak kWh/day |  | 0.0012 | [6 empty] | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
63041029.6705
CALCULATION OF YEAR END WEIGHTED ENTRY CAPACITY VOLUMES
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 56037000
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 2640385.1
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 4363644.5693
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0.0012
|  | Total weighted year end entry capacity bookings | Peak day kWh | TWFCt | 63041029.6705
| Year end total Exit Capacity by product |  |  |  | Postalised year | 0 | Q4 | Q1 | Q2 | Q3 |  | October | November | December | January | February | March | April | May | June | July | August | September
TOTAL - ALL SHIPPERS
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 94013322.7906
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
94013322.7906
| Calculation of weighted exit capacity volumes |  |  |  | Year 1
CALCULATION OF FORECAST WEIGHTED EXIT CAPACITY VOLUMES
|  | Annual capacity | Peak day kWh | FQpdt x wpdt | 94013322.7906
|  | Quarterly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Monthly capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Daily capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Within-day capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Actual interruptible capacity | Peak day kWh | FQpdt x wpdt | 0
|  | Virtual reverse flow | Peak day kWh | FQpdt x wpdt | 0
|  | Total weighted year end entry capacity bookings | Peak day kWh | TWFCt | 94013322.7906
| Calculation of year end reference capacity price |  |  |  | Year 1
2022/23
CALCULATION OF YEAR END CAPACITY REFERENCE PRICE
|  | Total Entry & Exit year end capacity bookings | Peak day kWh | TWFCt | 157054352.4611
|  | Total capacity required revenue | £ | PSFRRt * Capacity Percentage * PMA | 68218771.0444
|  | Year end reference capacity charge | £/Peak day kWh | FPACapCt | 0.43436

## Seasonal Factors & Multipliers
This tab outlines the Seasonal factors and Multipliers which is published by the GMO NI Annually ahead of the gas year. | [8 empty] | Legend:
Inputs
Seasonal factors & Multipliers
Product weightings |  |  |  | Annual | Q4 | Q1 | Q2 | Q3 | October | November | December | January | February | March | April | May | June | July | August | September
| Selected scenario: | Base Case
| Seasonal Multiplier type | Current Factors
ENTRY CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3843 | 0.8069 | 0.1327 | 0.0261
| Monthly capacity | # | wpdt | [5 empty] | 0.1281 | 0.1281 | 0.1708 | 0.2989 | 0.3416 | 0.2562 | 0.1281 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097
| Daily capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Within-day capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXIT CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3843 | 0.8069 | 0.1327 | 0.0261
| Monthly capacity | # | wpdt | [5 empty] | 0.1281 | 0.1281 | 0.1708 | 0.2989 | 0.3416 | 0.2562 | 0.1281 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097
| Daily capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Within-day capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Factors | ENTRY CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3843 | 0.8069 | 0.1327 | 0.0261
| Monthly capacity | # | wpdt | [5 empty] | 0.1281 | 0.1281 | 0.1708 | 0.2989 | 0.3416 | 0.2562 | 0.1281 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097
| Daily capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Within-day capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Factors | EXIT CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3843 | 0.8069 | 0.1327 | 0.0261
| Monthly capacity | # | wpdt | [5 empty] | 0.1281 | 0.1281 | 0.1708 | 0.2989 | 0.3416 | 0.2562 | 0.1281 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097
| Daily capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Within-day capacity | # | wpdt | [5 empty] | 0.0064 | 0.0064 | 0.0114 | 0.0199 | 0.0228 | 0.0171 | 0.0064 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Smoothed | ENTRY CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3375 | 0.3375 | 0.3375 | 0.3375
| Monthly capacity | # | wpdt | [5 empty] | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
| Daily capacity | # | wpdt | [5 empty] | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558
| Within-day capacity | # | wpdt | [5 empty] | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Smoothed | EXIT CAPACITY PRODUCT OF SEASONAL FACTORS, MULTIPLIERS, TIME FACTORS
| Annual capacity | # | wpdt | 1
| Quarterly capacity | # | wpdt |  | 0.3375 | 0.3375 | 0.3375 | 0.3375
| Monthly capacity | # | wpdt | [5 empty] | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125
| Daily capacity | # | wpdt | [5 empty] | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558
| Within-day capacity | # | wpdt | [5 empty] | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558 | 0.0076558
| Actual interruptible capacity | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual reverse flow | # | wpdt | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on B24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The seasonal factors for the gas year 2022/23 have been used
Note on B37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The seasonal factors for the gas year 2022/23 have been used
Note on B48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The seasonal factors for the gas year 2022/23 have been used
Note on B59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Smoothed Seasonal Multipliers
Note on B70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Smoothed Seasonal Multipliers