## Slide 1: Contestability Working Group
Consultation Report and Recommendations
NIE Networks / SONI Joint Presentation
26 January 2016

## Slide 2: Introduction
Four responses to the consultation were received
  SSE, NIRIG, RES, Omexom UK Renewables
Recommendations Report
  Draft report has been provided to the UR for comment
Consultation on potential options for processing generation connection applications progressing in parallel
  Depending on the outcome, further changes to contestability arrangements may be required.

## Slide 3: Section B - Scope of Contestability
33 kV versus 5 MW threshold
  33 kV not practical as eligibility for contestability only established by studies
Transitional arrangements
  Needs to be a cut-off point - by agreement on a case by case basis
Connection Queue position
  Contestability will not affect the queue position
Clarification on CTs, VTs and protection equipment
Level of inspection
  Agree that level of inspection could be reduced on satisfactory performance
Timelines for contestable works
  Contractual timelines may be required in certain circumstances
Contestable commissioning
  Licensees do not consider it as feasible for Phase 1
Approved equipment
  list of approved equipment and suppliers will be provided

## Slide 4: Section C – The Application Process
New definitions
  Contestable Offer
  Non-Contestable Offer
Licensees have amended their proposals:
Distribution
  A customer can request a Contestable Offer at any time up to ten days after the date of issue of the Non-Contestable Offer
Transmission
  A customer may request either a Contestable Offer or a Non-Contestable Offer at the outset
  A modified offer may be requested at any time up to ten days after the issue date of the initial offer
Feedback on offer definitions?

## Slide 5: Sect D - Offer and Offer Acceptance Process
Under Article 19 of the Electricity Order NIE Networks must provide a Non-Contestable Offer for connection to the Distribution System
Condition 25 of the SONI licence allows SONI to provide either a Contestable Offer or Non-Contestable Offer for connection to the Transmission System
Both Licensees hold the view that two offers cannot be provided in 90 days
  Not just charging differences, T&Cs may be different as well
However, it is now proposed that a modified offer can be provided in 25 days from date of initial offer.
  At least 55 days and at most 65 days to decide which offer to accept.

## Slide 6: Section E - The Connection Process
Extent of design review and formalised approach is under consideration
Licensees have commenced further work on:
  Pre-construction and construction programmes
  Quality plans
  Functional specifications
  Pre-commissioning
  Commissioning

## Slide 7: Section F – Accreditation
Acknowledge differences in other jurisdictions but still believe Lloyd’s scheme to be the best fit
We will specify works that need to be accredited by Lloyd’s in updated Guidelines document
  Acquisition of wayleaves not likely to be an accredited activity
  Other specialist activities will be addressed
Notes: .

## Slide 8: Section G – Adoption of Contestable Works
Adoption Agreement – no consultation
At transmission – it is still to be considered how any Adoption Agreement relates to the Connection Offer/Agreement from the TSO
The contractual arrangements are under consideration
Warranties
  NIE Networks will review the warranty periods set out in the Guidelines
  Not yet finalised but likely to be determined by voltage
Definition of Defect
  Under legal review
Financial security
  NIE Networks needs to be sure that the customer or ICP is either capable of rectifying a defect or NIE Networks can rectify the defect and recover its costs.
  Credit rating has always been seen as lowest cost option

## Slide 9: Section H – Consents and Wayleaves
Licensees accept that wayleaves and easements may be obtained by a party other than the ICP. However it will be a condition precedent to adoption that wayleaves are in place as required.
Licensees agree that the acquisition of land, wayleaves, easements and consents are not activities requiring accreditation under the NERS scheme and appropriate amendments will be made to the Guidelines.

## Slide 10: Section I –Shared Connections and Clusters
Significant difficulties
  Needs complex contractual framework to be set up
Lead developer
  Appointment must be unanimous
Funding of clusters
  NI contribution is UR matter
System operator preferred funding
  Raise with UR
Cost sharing
  Contested costs unknown
Latecomer
  Balance to be struck between optimal grid development (duty under the Order) with obligations to offer and not disadvantage the earlier customer project delivery

## Slide 11: Section J – Charging Arrangements
The Licensees are considering the responses.
A comprehensive review of the transmission and distribution connection charging methodologies and the TIA will be carried out as part of the implementation of contestability and concerns expressed will be taken into account as part of that review.

## Slide 12: Section K – Governance and Disputes
While some respondents supported the governance and disputes proposals in the Guidelines others favoured immediate referral of any dispute to the UR
Others suggested industry review of any changes to contestability documentation
The Licensees believe that the governance and disputes arrangements can evolve with time as needs determine

## Slide 13: Next steps
Further engagement between SONI and NIE in relation to contested transmission works in the following areas:
Review and agreement on TIA changes to facilitate contestability
Review and agreement on the connection charging methodologies
Revision and agreement on the contractual framework for
  direct connections (T and D)
  D connections where transmission works are required
  Shared and cluster connections